{"text_format":"2","workbook":"xls","n_sheets":5,"sheets":["外皮面積計算例","求積表1","立面図等","求積表2","求積表3"],"not_rendered":{"charts":0,"images":5,"macros":0,"external_links":1,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"外皮面積計算例","index":0,"n_rows":29,"n_cols":8,"rows_kept":29,"cut":false,"hidden":false,"merged":[[16,2,16,3],[16,7,16,8]],"flags":["formulas_cached_only"]}
[]
[null,null,null,"外皮面積算定時の計算根拠例"]
[]
["■","モデルプラン図（参考例）"]
{"$rows_empty":12}
[null,null,"1階平面図",{"$nulls":4},"２階平面図"]
["※","居室の区分について色分けをします。",null,null,null,"主たる居室"]
[{"$nulls":5},"その他の居室"]
[{"$nulls":5},"非居室"]
[]
["■","求積図"]
[]
[]
[]
[]
[]
[]
[null,"住宅省エネルギー技術　設計者講習　テキストより一部転載の許可をいただき作成しています。"]

{"sheet":"求積表1","index":1,"n_rows":30,"n_cols":13,"rows_kept":30,"cut":false,"hidden":false,"merged":[[24,5,24,6],[23,5,23,6]],"flags":["formulas_cached_only"]}
[]
[null,"●","床面積・天井面積、及び主たる居室・その他の居室の面積"]
[null,"1階","部屋名",null,"Ｘ方向","Ｙ方向","求積","天井","床","土間","主たる居室","その他の居室","非居室"]
[null,"①","玄関",null,1.365,1.82,2.4843,null,null,"○",null,null,"○"]
[null,"②","ＬＤ",null,5.915,3.64,21.5306,null,"○",null,"○"]
[null,"③","キッチン",null,2.275,1.82,4.1405,null,"○",null,"○"]
[null,"④","キッチン","下屋",2.275,1.82,4.1405,"○","○",null,"○"]
[null,"⑤","和室",null,3.64,3.64,13.249600000000001,null,"○",null,null,"○"]
[null,"⑥","和室","下屋",0.91,3.64,3.3124000000000002,"○","○",null,null,"○"]
[null,"⑦","ホール 階段 収納",null,5.915,1.82,10.7653,null,"○",null,null,null,"○"]
[null,"⑧","浴室 洗面 \nトイレ","下屋",4.55,1.82,8.281,"○","○",null,null,null,"○"]
[null,null,"小計",null,null,null,67.9042,15.733900000000002,65.4199,2.4843,29.8116,16.562,21.5306]
[]
[null,"2階","部屋名",null,"Ｘ方向","Ｙ方向","求積","天井","床","土間","主たる居室","その他の居室","非居室"]
[null,"⑨","寝室",null,3.64,3.64,13.249600000000001,"○",null,null,null,"○"]
[null,"⑩","子供部屋　\n中",null,2.958,3.64,10.76712,"○",null,null,null,"○"]
[null,"⑪","子供部屋　\n東",null,2.958,3.64,10.76712,"○",null,null,null,"○"]
[null,"⑫","ｸﾛｰｾﾞｯﾄ",null,2.73,1.82,4.9686,"○",{"$nulls":4},"○"]
[null,"⑬","ホール\n階段",-1,5.005,0.91,4.55455,"○",{"$nulls":4},"○"]
[null,"⑬","ホール",-2,6.825,0.91,6.21075,"○",{"$nulls":4},"○"]
[null,"⑭","トイレ",null,1.82,0.91,1.6562000000000001,"○",{"$nulls":4},"○"]
[null,null,"小計",null,null,null,52.173939999999995,52.173939999999995,0,0,0,34.78384,17.390100000000004]
[]
[{"$nulls":5},"延床面積",null,"天井","床","土間","主たる居室","その他の居室","非居室"]
[null,null,"合計",null,null,120.07813999999999,null,67.90784,65.4199,2.4843,29.8116,51.345839999999995,38.920700000000004]
[]
[null,"※","２階建ての場合、総２階部分かあるいは下屋部分かによって、天井面積や床面積に算入するまたは"]
[null,null,"しないかで異なりますので、別々に求めます。"]
[null,null,"「主たる居室」「その他の居室」「非居室」は、一次エネルギー消費量の判定の時に必要な数値で"]
[null,null,"すので別々に求めます。"]

{"sheet":"立面図等","index":2,"n_rows":29,"n_cols":2,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
{"$rows_empty":28}
[null,"住宅省エネルギー技術　設計者講習　テキストより一部転載の許可をいただき作成しています。"]

{"sheet":"求積表2","index":3,"n_rows":39,"n_cols":19,"rows_kept":39,"cut":false,"hidden":false,"merged":[[16,2,18,2],[20,3,20,4],[19,2,21,2],[30,1,32,1],[25,1,29,1],[25,2,27,2],[28,2,29,2],[31,2,32,2],[22,1,24,1],[22,2,23,2],[16,1,21,1],[26,3,26,4],[25,3,25,4],[24,3,24,4],[23,3,23,4],[22,3,22,4],[21,3,21,4],[28,9,28,10],[29,9,29,10],[29,3,29,4],[28,3,28,4],[22,9,22,10],[23,9,23,10],[24,9,24,10],[25,9,25,10],[26,9,26,10],[27,9,27,10],[32,9,32,10],[32,3,32,4],[31,3,31,4],[30,3,30,4],[30,5,30,6],[30,7,30,8],[31,5,31,6],[31,7,31,8],[32,5,32,6],[32,7,32,8],[21,9,21,10],[25,7,25,8],[26,7,26,8],[27,3,27,4],[30,9,30,10],[31,9,31,10],[28,5,28,6],[28,7,28,8],[29,5,29,6],[29,7,29,8],[17,3,17,4],[17,7,17,8],[18,5,18,6],[18,7,18,8],[3,3,3,4],[3,5,3,6],[6,3,6,4],[6,5,6,6],[9,3,9,4],[18,3,18,4],[9,5,9,6],[16,9,16,10],[17,9,17,10],[18,9,18,10],[19,9,19,10],[20,9,20,10],[15,9,15,10],[17,5,17,6],[9,1,10,1],[16,5,16,6],[14,2,15,2],[14,3,15,4],[16,7,16,8],[21,7,21,8],[21,5,21,6],[15,7,15,8],[10,5,10,6],[14,1,15,1],[22,5,22,6],[22,7,22,8],[23,5,23,6],[23,7,23,8],[27,7,27,8],[26,5,26,6],[27,5,27,6],[25,5,25,6],[24,5,24,6],[24,7,24,8],[5,3,5,4],[5,5,5,6],[5,7,5,8],[19,7,19,8],[20,5,20,6],[20,7,20,8],[16,3,16,4],[19,5,19,6],[19,3,19,4],[15,5,15,6],[14,5,14,10],[11,9,11,10],[2,7,2,8],[6,7,6,8],[7,3,7,4],[7,5,7,6],[7,7,7,8],[8,3,8,4],[8,5,8,6],[8,7,8,8],[5,11,6,12],[7,11,8,12],[9,11,10,12],[11,7,11,8],[9,7,9,8],[5,9,6,10],[7,9,8,10],[3,1,4,1],[5,1,6,1],[7,1,8,1],[9,9,10,10],[10,3,10,4],[10,7,10,8],[4,5,4,6],[4,7,4,8],[3,7,3,8],[4,3,4,4],[1,1,2,2],[1,11,2,12],[1,13,2,14],[1,15,2,16],[1,3,1,10],[3,9,4,10],[3,11,4,12],[2,9,2,10],[2,3,2,4],[2,5,2,6],[3,13,4,14],[3,15,4,16],[5,13,6,14],[5,15,6,16],[7,13,8,14],[7,15,8,16],[9,15,10,16],[16,11,16,12],[16,13,16,14],[16,15,16,16],[14,17,15,18],[14,11,14,16],[15,13,15,14],[15,15,15,16],[15,11,15,12],[19,15,19,16],[20,11,20,12],[20,13,20,14],[20,15,20,16],[17,11,17,12],[17,13,17,14],[17,15,17,16],[18,11,18,12],[18,13,18,14],[18,15,18,16],[22,17,24,18],[21,11,21,12],[21,13,21,14],[21,15,21,16],[22,11,22,12],[22,13,22,14],[22,15,22,16],[16,17,21,18],[19,11,19,12],[19,13,19,14],[25,11,25,12],[23,11,23,12],[23,13,23,14],[23,15,23,16],[24,11,24,12],[24,13,24,14],[24,15,24,16],[29,15,29,16],[30,11,30,12],[30,13,30,14],[30,15,30,16],[27,11,27,12],[27,13,27,14],[27,15,27,16],[28,11,28,12],[28,13,28,14],[28,15,28,16],[33,11,33,12],[33,13,33,14],[33,15,33,16],[31,11,31,12],[31,13,31,14],[31,15,31,16],[32,11,32,12],[32,13,32,14],[30,17,32,18],[25,17,29,18],[25,13,25,14],[25,15,25,16],[26,11,26,12],[26,13,26,14],[26,15,26,16],[32,15,32,16],[29,11,29,12],[29,13,29,14],[1,17,2,18],[3,17,4,18],[5,17,6,18],[7,17,8,18],[9,17,10,18],[11,11,11,12],[11,13,11,14],[11,15,11,16],[11,17,11,18],[9,13,10,14],[36,3,36,4],[37,3,37,4],[38,3,38,4],[36,5,36,6],[36,7,36,8],[33,17,33,18],[33,9,33,10],[36,17,36,18],[37,17,38,18],[36,9,36,10],[37,5,37,6],[37,7,37,8],[37,9,37,10],[38,5,38,6],[38,7,38,8],[38,9,38,10]],"flags":["formulas_cached_only"]}
[null,"●","外壁面積",{"$nulls":15},"面積の単位[㎡]"]
[null,"方位",null,"外壁＋窓＋ドア",{"$nulls":7},"窓",null,"ドア",null,"外壁のみ\nの面積"]
[null,null,null,"W",null,"H",null,"A",null,"小計"]
[null,"南","①",9.555,null,5.3,null,50.64149999999999,null,52.82549999999999,null,19.6875,null,null,null,33.13799999999999]
[null,null,"②",0.91,null,2.4,null,2.184]
[null,"東","③",5.46,null,5.3,null,28.938,null,33.306,null,3.785,null,null,null,29.520999999999997]
[null,null,"④",1.82,null,2.4,null,4.368]
[null,"北","⑤",9.555,null,5.3,null,50.64149999999999,null,52.82549999999999,null,3.1500000000000004,null,1.62,null,48.055499999999995]
[null,null,"⑥",0.91,null,2.4,null,2.184]
[null,"西","⑦",5.46,null,5.3,null,28.938,null,33.306,null,2.0700000000000003,null,1.8900000000000001,null,29.345999999999997]
[null,null,"⑧",1.82,null,2.4,null,4.368]
[{"$nulls":7},"合計",null,172.26299999999998,null,28.692500000000003,null,3.5100000000000002,null,140.0605]
[]
[null,"●","窓面積",{"$nulls":15},"面積の単位[㎡]"]
[null,"方位","階","部屋名",null,"計算式",{"$nulls":5},"窓の区分",{"$nulls":5},"合計"]
[{"$nulls":5},"Ｗ",null,"Ｈ",null,"Ａ㎡",null,"附属部品無",null,"シャッター",null,"内障子"]
[null,"南","1階","和室",null,2.55,null,1.8,null,4.59,{"$nulls":5},"○",null,19.6875]
[null,null,null,"ＬＤ",null,1.65,null,2.1,null,3.465,null,"○"]
[null,null,null,"ＬＤ",null,1.65,null,2.1,null,3.465,null,"○"]
[null,null,"2階","寝室",null,1.65,null,1.05,null,1.7325,null,"○"]
[null,null,null,"子供部屋中",null,1.65,null,1.95,null,3.2175,null,"○"]
[null,null,null,"子供部屋東",null,1.65,null,1.95,null,3.2175,null,"○"]
[null,"東","1階","ＬＤ",null,1.65,null,1.3,null,2.145,null,"○",{"$nulls":5},3.785]
[null,null,null,"台所",null,1.4,null,0.7,null,0.9799999999999999,null,"○"]
[null,null,"2階","子供部屋東",null,0.6,null,1.1,null,0.66,null,"○"]
[null,"北","1階","トイレ",null,0.6,null,0.9,null,0.54,null,"○",{"$nulls":5},3.1500000000000004]
[null,null,null,"洗面所",null,0.6,null,0.9,null,0.54,null,"○"]
[null,null,null,"ホール",null,0.6,null,0.9,null,0.54,null,"○"]
[null,null,"2階","ホール",null,0.9,null,1.1,null,0.9900000000000001,null,"○"]
[null,null,null,"トイレ",null,0.6,null,0.9,null,0.54,null,"○"]
[null,"西","1階","浴室",null,0.6,null,0.9,null,0.54,null,"○",{"$nulls":5},2.0700000000000003]
[null,null,"2階","寝室",null,0.9,null,1.1,null,0.9900000000000001,null,"○"]
[null,null,null,"クローゼット",null,0.6,null,0.9,null,0.54,null,"○"]
[{"$nulls":9},"小計",null,24.102499999999992,null,0,null,4.59,null,28.692500000000003]
[]
[null,"●","ドア面積",{"$nulls":15},"面積の単位[㎡]"]
[null,"方位","階","部屋名",null,"Ｗ",null,"Ｈ",null,"Ａ",{"$nulls":7},"合計"]
[null,"北","1階","キッチン",null,0.9,null,1.8,null,1.62,{"$nulls":7},3.5100000000000002]
[null,"西","1階","玄関",null,0.9,null,2.1,null,1.8900000000000001]

{"sheet":"求積表3","index":4,"n_rows":32,"n_cols":8,"rows_kept":32,"cut":false,"hidden":false,"merged":[[4,7,7,7],[8,7,11,7],[12,7,13,7],[8,2,11,2],[12,2,13,2],[16,1,16,3],[8,1,13,1],[3,1,3,3],[14,1,14,3],[4,1,7,2],[15,1,15,3]],"flags":["formulas_cached_only"]}
[]
[null,"●面積一覧表",{"$nulls":5},"面積の単位[㎡]"]
[null,"部位",null,"方位",null,"小計",null,"合計"]
[null,"天井",null,null,null,67.9,null,67.9]
[null,"外壁",null,"南",null,33.14,null,140.07]
[null,null,null,"東",null,29.52]
[null,null,null,"北",null,48.06]
[null,null,null,"西",null,29.35]
[null,"開口部","窓","南",null,19.69,null,28.7]
[null,null,null,"東",null,3.79]
[null,null,null,"北",null,3.15]
[null,null,null,"西",null,2.07]
[null,null,"ドア","北",null,1.62,null,3.51]
[null,null,null,"西",null,1.89]
[null,"床",null,null,null,65.42,null,65.42]
[null,"基礎土間",null,null,null,2.48,null,2.48]
[null,"合計",{"$nulls":5},308.08]
[]
[]
[]
[]
[{"$nulls":7},"長さの単位[ｍ]"]
[null,null,"部位",null,null,"長さ"]
[null,"基礎周長","（外気側）",null,null,3.185]
[null,"基礎周長","（床下側）",null,null,3.185]
[]
["※","転載許可について"]
[null,"本参考資料は、（一般社団法人）　木を活かす建築推進協議会　発行の"]
[null,"住宅省エネルギー技術　設計者講習　テキストより一部転載の許可をいただき作成しています。"]
["※","本資料に関するお問い合わせについて"]
[null,"「ゼロエネ審査室」へお願いします。",null,null,null,"zero@kkj.or.jp"]
["※","各々のシートは保護をしていますが各自の責任で保護解除いただき編集可能です"]